## Slide 1: Welcome To CE 413
Md. Abu Hasan
Senior Lecturer
Department of Civil Engineering
Daffodil International University
Lecture-01

## Slide 2: Syllabus
Define composite structures
Analysis of composite columns
Design of composite columns
Define of composite floor system
Shear wall and it’s uses
Design of shear wall
CE 413: Structural Analysis & Design III
Credit-3.0

## Slide 3: Course Plan
Class 2 | Introduction to Composite Structure
Class 3 | Different kinds of composite columns
Class 4 | Fully Encased Composite Column (FEC)
Class 5 | Concrete Filled Tube Column (CFT)
Class 6 | Partially Encased Composite Column (PEC)
Quiz 1 | From Class 1 to Class 6
Assignment 1 | Group wise different topics

## Slide 4: Course Plan
Class 7 | Limitation Codes of Fully Encased Composite Column (FEC)
Class 8 | Limitation Codes Concrete Filled Tube Column (CFT)
Class 9 | Limitation Codes Partially Encased Composite Column (PEC)
Class 10 | Design of Fully Encased Composite Column (FEC)
Class 11 | Design Concrete Filled Tube Column (CFT)
Class 12 | Design Partially Encased Composite Column (PEC)
Quiz 2 | From Class 7 to Class 12

## Slide 5: Course Plan
Class 13 | Introduction to composite floor system
Class 14 | Design limitations of composite floor system
Class 15 | Introduction to Shear Wall
Class 16 | Different elements and failure category of shear wall
Quiz 3 | From Class 13 to Class 16
Class 17 | Design of shear wall (Part 01)
Class 18 | Design of shear wall (Part 02)
Quiz 4 | From Class 17 to Class 18
Presentation | Group wise different topic
Class 19 | Review Class

## Slide 6: Assessment strategies:
Attendance | 07
Class test/Quiz | 15
Presentation | 08
Assignment | 05
Mid-term | 25
Final | 40

## Slide 7: Composite Structure
Two or more materials combined to gain extra strength and benefits.
Examples-
  Reinforced concrete
  Composite wood or plywood
  Reinforced Plastics
  Steel Concrete composite

## Slide 8: Composite Structure
Steel Concrete composite structure

## Slide 9: Composite Structure
Steel Concrete composite structure

## Slide 10: Composite Structure
Why Steel Concrete composite structure used??
Disadvantage of RCC and Steel structures
Large size
Huge self weight to strength ratio
Huge time consuming
Highly fire susceptible
Construction cost is high for high rise structures
To recover all of this disadvantages Steel Concrete composite structures are used

## Slide 11: Composite Structure
Advantage of Steel Concrete composite structures
Small size
Low self weight to strength ratio
Low time consuming
Low fire susceptible
Construction cost is low for high rise structures
More headroom
For these advantages Steel Concrete composite structures are used

## Slide 12: Composite Structure
Disadvantage of Steel Concrete composite structures
Corrosion
Highly skilled labour