## Slide 1: EEE 333 Power System Analysis
Power Flow Analysis
Prepared by
Dr. Md. Rezwanul Ahsan
Assistant Professor, Dept. of EEE

## Slide 2
Lecture Contents
Power Flow Analysis
Gauss-Seidel method of power flow solution

## Slide 3
Learning Outcomes
The students will be able to…
Identify type of buses in power system
Develop general equation of power flow solution

## Slide 4
Introduction to Power Flow/ Load Flow
Power Flow Studies (Load Flow) is an important part of power system analysis
Necessary for planning, economic scheduling and control of an existing system as well as planning its future expansion
The problem consists of determining the magnitudes and phase angle of voltages at each bus and active and reactive power flow in each line
In solving power flow problem, the system is assumed to be operating under balanced conditions and a single-phase model is used
Four quantities are associated with each bus: voltage magnitude |V|, phase angle θ, real power P and reactive power Q

## Slide 5
Introduction to Power Flow/ Load Flow
The system buses are generally classified into three types:-
Slack bus (Swing bus or Reference bus) – one generator at slack bus - is taken as reference where the magnitude voltage (V) and phase angle of the voltage (θ) are specified. This bus makes up the difference between scheduled loads and generated power that caused by the losses in the network
Load buses (P-Q buses) – the reactive and active powers are specified at these buses. The magnitude and the phase angle of the bus voltages are unknown
Regulated buses (Generator buses or P-V buses) – known as voltage-controlled buses. The real power and voltage magnitude are specified. The phase angles of the voltages and reactive power to be determined

## Slide 6
Power Flow Equation
Consider bus of a power system network as shown in figure below. Transmission lines are represented by equivalent π models where impedances have been converted to per unit admittances on a common MVA base
Applying KCL to this bus (bus i) results in
Vi
Ii
V2
V1
Vn
yi1
yi2
yi3
yi0

## Slide 7
Power Flow Equation
The real and reactive power at bus i is
From this relationship, the mathematical formulation of the power flow problem results in a system of algebraic non-linear equations which must be solved by iterative techniques (like Gauss-Seidel, Newton-Raphson etc.)

## Slide 8
Gauss-Seidel Power Flow Solution
In power flow study, it is essential to solve the set of non-linear equations for two unknown variables at each node
In Gauss-Seidel method, Vi is solved and the iterative sequences become:
where, yij shown in lowercase letters is the actual admittance in per unit
Pisch and Qisch are the net real and reactive powers in per unit

## Slide 9
Gauss-Seidel Power Flow Solution
In KCL, current entering bus i was assumed positive. Thus, for buses where real and reactive powers are injected into the bus, such as generator buses, Pisch and Qisch have positive values
For load buses where real and reactive powers are flowing away from the bus, Pisch and Qisch have negative values

## Slide 10
Gauss-Seidel Power Flow Solution
Rewriting the power flow equation in terms of the bus admittance matrix (Y-bus)
Since the off-diagonal elements of the bus admittance matrix Ybus shown by uppercase letters, Yij = -yij and the diagonal elements are Yii = -yij and the diagonal elements are Yii = yij becomes

## Slide 11
Gauss-Seidel Power Flow Solution
Yii includes the admittance to ground of life charging susceptance and any other fixed admittance to ground
Since both components (V and θ) are specified for slack bus, there are 2(n-1) equations which must be solved iteratively
Under normal operating conditions, V of buses are in neighborhood of 1.0 per unit or close to the V of the slack buses
V of load buses are lower than the slack bus value, depending on reactive power demand whereas the scheduled voltage at the generator buses are higher
The θ of the load buses are below the reference angle in accordance to power demand whereas θ of the generator buses may be above the reference value depending on the amount of real power flowing into the bus
Thus, for Gauss-Seidel method, an initial voltage estimate of 1.0 +j 0.0 for unknown voltage is satisfactory and the converged solution correlates with actual operating states

## Slide 12
Gauss-Seidel Power Flow Solution
For P-Q buses, Pisch and Qisch are known. Starting with an initial estimate, Vi(k+1) is solved for the real and imaginary components of voltage
For P-V buses, Pisch and Vi are specified, Qi(k+1), then used in Vi(k+1)
Since Vi is specified, only imaginary part of Vi(k+1) is retained. And its real part is selected in order to satisfy
where ei(k+1) and fi(k+1) are the real and imaginary components of the voltage Vi(k+1) in the iterative sequence

## Slide 13
Line Flows and Losses
Consider the line connecting the two buses i and j in Transmission line model below. The line current Iij measured at bus i and defined positive in the direction
i  j given by : = (- )+
and, j  i given by : = (- )+
Then, the complex power Sij from bus i to j and Sji from bus j to i are:
and
The power loss in the line i – j is the algebraic sum of the power flows.

## Slide 14
Example 6.7:
Figure below shows the single-line diagram of three-bus power system with generation at bus 1. The scheduled loads at buses 2 and 3 are as marked on the diagram. Line impedances are marked in per unit on 100 MVA base and the line charging susceptances are neglected
Using Gauss-Seidel method, determine the phasor values of the voltage at load buses 2 and 3 (P-Q buses) to 4 decimal places
Find slack bus real and reactive power
Determine the line flows and line losses
Construct a power flow diagram showing the direction of line flow

## Slide 15
Example 6.7: Solution
a) Line impedances are converted to admittances

## Slide 16
Example 6.7: Solution
Bus 1 is taken as reference bus (slack bus). Starting from an initial estimate of

## Slide 17
Example 6.7: Solution

## Slide 18
Example 6.7: Solution
(b) The slack bus is:

## Slide 19
Example 6.7: Solution
(c) To find the line flows, first find the line currents are computed. With the line charging capacitors neglected, the line currents are:
The line flows are:

## Slide 20
Example 6.7: Solution

## Slide 21
Example 6.7: Solution
(d) The line flows are:

## Slide 22
Example 6.8:
Figure below shows the single-line diagram of three-bus power system with generator at buses 1 and 3. The magnitude of voltage at bus 1 is adjusted to 1.05 pu. Voltage magnitude at bus 3 is fixed at 1.04 pu with a real power generation at 200 MW. A load consisting of 400 MW and 250 Mvar is taken from bus 2. Line impedances are marked in per unit on a 100 MVA base and the line charging susceptances are neglected. Obtain the power flow solution by Gauss-Seidel method including line flows and line losses.

## Slide 23
Example 6.8: Solution
Line impedances are converted to admittances
Bus 1 is taken as reference bus (slack bus). Starting from an initial estimate of

## Slide 24
Example 6.8: Solution
Bus 3 is a regulated bus where voltage magnitude and real power are specified. For the voltage-controlled bus, the first reactive power is:

## Slide 25
Example 6.8: Solution

## Slide 26
Example 6.8: Solution

## Slide 27
Example 6.8: Solution
Line flows and line losses are computed as below:-

## Slide 28
Example 6.8: Solution
The power flow diagram is as below:-

## Slide 29
Exercise 1:
Figure 1 shows the single-line diagram of a three-bus power system with generation at bus 1. The voltage at bus 1 is V1 = 1.0250 per unit. The scheduled loads on bus 2 and bus 3 are marked on the diagram. Line impedances are marked in per unit on a 100 MVA base. Line resistances and line charging susceptances are neglected.
a) By using Gauss-Seidel method and initial estimates of V2(0)=1.00 and V3(0)=1.328519.8, find V2 and V3. Perform calculation for two iterations.
b) After several iterations, the bus voltages converge to
V2 = 0.9346 – j0.1159 pu
V3 = 0.9724 – j0.0604 pu
Determine the line flows and losses and the slack bus real and reactive power.
Figure 1:

## Slide 30
Exercise 2:
Figure 2 shows the single-line diagram of three-bus power system with generation at bus 1 and bus 3. The voltage at bus 1 is V1 = 1.0250 p.u. The voltage magnitude at bus 3 is fixed at 1.05 p.u with a real power generation of 250 MW. The scheduled load on bus 2 is marked on the diagram. Line impedances are marked in p.u on a 100-MVA base. Line resistances and line charging susceptances are neglected.
Figure 2:
By using Gauss-Seidel method and initial estimates of V2(0) = 1.00 and V3(0) = 1.050, determine V2 and V3. Perform calculation for one iteration.