## Slide 1: EEE 333 Power System Analysis
Bus Admittance Matrix - YBUS
Prepared by
Mahzuba Islam
Assistant Professor, Dept. of EEE

## Slide 2
Lecture Contents
Introduction to Power Flow and Bus Admittance
Formation of Bus Admittance Matrix

## Slide 3
Learning Outcomes
The students will be able to…
Importance of YBUS
Find YBUS from impedance diagram
Solve the power flow equations

## Slide 4
Introduction
The system is assumed to be operating under balanced condition and is represented by single-phase network
Network contains hundreds of nodes and branches with impedances specified in per unit on a common MVA base
The node-voltage method is commonly used for many power system analysis
In power system, powers are known rather than currents
Thus, resulting equations in terms of power known as power flow equation become non-linear and must be solved by iterative techniques

## Slide 5
Introduction
Power flow studies (load flow) are the backbone of power system analysis and design
  power flow determines how the power flows in a network
  also used to determine all bus voltages and all currents,
  because of constant power models, power flow is a nonlinear analysis technique,
  power flow is a steady-state analysis tool.
Essential for planning, operation and exchange power between utilities
Power flow also is required for many other analyses such as transient stability and contingency studies

## Slide 6
Formation of Bus Admittance Matrix or YBUS
First step in solving the power flow is to create what is known as the bus admittance matrix, often called the YBUS.
The YBUS gives the relationships between all the bus current injections I, and all the bus voltages V, then I = YBUS V
The YBUS is developed by applying KCL at each bus in the system to relate the bus current injections, the bus voltages, and the branch impedances and admittances.
Nodes represent substation bus bars
Branches represent transmission lines and transformers
Injected currents are the flows from generators and loads

## Slide 7
Formation of Bus Admittance Matrix or YBUS
Form the nodal solution based upon Kirchhoff’s Current Law (KCL)
Impedances are converted to Admittances

## Slide 8
Example of Bus Admittance Matrix or YBUS Formation

## Slide 9
Example of Bus Admittance Matrix or YBUS Formation
The circuit has been redrawn in Figure below in terms of admittances and transformation to current sources. Node O (ground) is taken as reference. Applying KCL to the independent nodes 1 through 4 :

## Slide 10
Example of Bus Admittance Matrix or YBUS Formation
Rearranging the KCL Equations:
Admittances:

## Slide 11
Example of Bus Admittance Matrix or YBUS Formation
The node equation reduces to:
In the network given, since there is no connection between bus 1 and bus 4, Y14 = Y41 = 0; Y24 = Y42 = 0
Where :
Ibus is the vector of injected bus currents (external current sources).
Vbus is the vector bus voltages measured from the reference node (node voltages)
Ybus is known as the bus admittance matrix

## Slide 12
Example of Bus Admittance Matrix or YBUS Formation
The matrix formation of the equations:
Completed matrix equations:
And, finally…

## Slide 13
YBUS Matrix Building Rules
The diagonal element of each node = the sum of admittances connected to it. Commonly known as Self-admittance or driving point admittance
The off-diagonal element = the negative of the admittance between the nodes. Commonly known as mutual admittance or transfer admittance
With large systems, Ybus is a sparse matrix (most entries are zero)
Shunt terms, such as -line model, only affect the diagonal terms

## Slide 14
Example 1
Determine the bus admittance matrix for the network below in Figure 1, assuming the current injection at each bus i is Ii = IGi – IDi where IGi is the current injection into the bus from generator and IDi is the current flowing into the load

## Slide 15
Example 1
By Kirchhoff’s Current Law at bus 1,

## Slide 16
Example 1
Similar relationships for buses 3 and 4. The results can be expressed in matrix form

## Slide 17
Modeling Shunt in the YBUS

## Slide 18
Modeling Shunt in the YBUS
Example 2
Modeling Shunts in the Ybus. Find the power injected at bus 1 if Vbus is given and find the power injected if Ibus is given in Figure 2
Figure 2

## Slide 19
Modeling Shunt in the YBUS
Example 2: Solution
Solving for Bus Current, Ibus if Vbus given below:-

## Slide 20
Modeling Shunt in the YBUS
Therefore, the power injected at bus 1 is:
Solving for Bus Voltage, Vbus if Ibus given below:-
Example 2: Solution

## Slide 21
Modeling Shunt in the YBUS
Example 2: Solution
Therefore, the power injected is:

## Slide 22
Modeling Shunt in the YBUS
Example 3
Figure 3 shows the one-line diagram of four-bus power system with generation at bus 1 and bus 4. The voltage at bus 1 is V1 =1.01 <0o per unit. The Voltage magnitude at bus 4 is fixed at 1.1 pu with a real power generation of 200 MW. The scheduled loads on buses 2 and 3 are marked on the diagram. Line impedances are marked in per unit on a 100-MVA base. Create the admittance matrix bus using KCL method.
Figure 3

## Slide 23
Modeling Shunt in the YBUS
Example 3: Solution
Bus 1

## Slide 24
Modeling Shunt in the YBUS
Example 3: Solution
Bus 2
Bus 3
Bus 4

## Slide 25
Modeling Shunt in the YBUS
Example 3: Solution
Matrix form:
So the admittance matrix bus is

## Slide 26
Modeling Shunt in the YBUS
Exercise 1:
Figure 1 shows the one-line diagram of four-bus power system with generation at bus 1 and bus 2. The voltage at bus 1 is V1 =1.01 <0o per unit. The Voltage magnitude at bus 2 is fixed at 1.1 pu with a real power generation of 200 MW. The scheduled loads on buses 3 and 4 are marked on the diagram. Line impedances are marked in per unit on a 100-MVA base. Form the bus admittance matrix using KCL method.
Figure 1

## Slide 27
Modeling Shunt in the YBUS
Exercise 2:
Figure 2 shows the single-line diagram of a three-bus power system with generation at buses 1 and 3. The voltage at bus 1 is V1 = 1.030 p.u. The scheduled load on bus 2 is marked on the diagram. The line impedance is marked in p.u on a 100 MVA base. Line resistances and line charging susceptances are neglected. Form the bus admittance matrix using KCL method.
Figure 2

## Slide 28
Modeling Shunt in the YBUS
Exercise 3:
Figure 3
Figure 3 shows a power system network. The generator at buses 1 and 2 are represented by their equivalent sources with their reactances in per unit on a 100-MVA base. The lines are represented by  model where series reactances and shunt reactances are also expressed in per unit on a 100 MVA base. The loads at buses 3 and 4 are expressed in MW and MVAR. Assuming voltage magnitude of 1.0 per unit at buses 3 and 4, convert the loads to per unit impedances. Convert network impedances to admittances and obtain the bus admittance matrix.

## Slide 29: Exercise 3
Figure 3 shows a power system network. The generator at buses 1 and 2 are represented by their equivalent sources with their reactances in per unit on a 100-MVA base. The lines are represented by  model where series reactances and shunt reactances are also expressed in per unit on a 100 MVA base. The loads at buses 3 and 4 are expressed in MW and MVAR. Assuming voltage magnitude of 1.0 per unit at buses 3 and 4, convert the loads to per unit impedances. Convert network impedances to admittances and obtain the bus admittance matrix.
Figure 3